# NEWFIELDS VILLAGE WATER & SEWER DISTRICT

## Meeting Minutes from 04/02/2024
Approved May 6, 2024

### Opening:

The regular meeting of the Newfields Village Water & Sewer District was called to order at 7:00 pm on Tuesday, April 2, 2024 at the Water & Sewer District Office, 75 Main Street.

### Present:  Commissioners Ray Buxton, Catherine Nelson-Smith, George Drinkwater, Paula Boyle, Engineer, Josh Scotton, Water/Wastewater Operator, and Wendy Chase, Treasurer.

A. Public Hearing 2024 Proposed Budget

The Public Hearing was convened at 7:00 PM.

The Village District’s Budget begins January 1, 2024 to December 31, 2024. The annual meeting is the 4th Monday in the month of April. This process is similar to the traditional town meeting process where from January through April expenditures are only made on items of general nature to keep operations going until the April Budget is passed. General items include but not limited to electricity, internet, fuel, contractual agreements.

The budget increased approximately $22,700 from 2023. Increases include $40,000 for upgrades to the Wastewater Treatment plant, $25,000 copper and lead testing, $26,000 well exploration and window replacement for the District office (75 Main Street).

The Commissioners decided to take advantage of the 25 month interest free option to have all the windows replaced in the District office building. The budget was amended to reduce the maintenance line by $8,000.00.

There were no comments from the public.

Cathy Neslon-Smith made a motion to approve the 2024 Budget as presented totaling $605,307.00.

George Drinkwater Seconded the motion.

Motion passed.

The Public Hearing was closed at 7:20PM without objection.

# B.	Approval of Minutes

The minutes of March 4, 2024 were unanimously approved.

C.	NH DES Lead and Copper Rule

The Environmental Protection Agency (EPA)’s Lead Copper Rule Revisions (LCRR) is a federal rule requiring all community (C) and non-transient non-community (NTNC) water systems to develop a service line inventory and replacement plan as needed, and submit to the New Hampshire Department of Environmental Services (NHDES). The inventory includes both utility and customer-owned portions of the service line. Along with the inventory, a proposed replacement plan for any lead, galvanized requiring replacement (GRR) or unknown service line material must be submitted. The District has to do a complete inventory of all water services by October 16, 2024.  Update: Paula said that all the information has to be sent to NH DES and they are reviewing it to see whether or not we need to do anything else. Arcadis is doing all the “leg work” for the State regarding the lead and copper rule. The District will wait to hear from NH DES. Paula said that HTA will close out the contract; they have completed their part.

# D.	Open Issues

- Conservation Plan.

- Calibrating the Source Meters: Due every 3 years. Next calibration deadline is due by the end of year 2024.  Update:  Josh said it’s been scheduled to get done.

- Leak Log: Update: Ray said the hydrant that had leaked is not back in services but it has been repaired.

- Emergency Plan: Reviewed annually and updated every 6 years. The next review is due March 2027.

- Sludge Removal. Background: Remove sludge from Lagoons along with piping and old aeration system and replace existing aeration system with a permanent solution. Update: Paula said she received a pre-application from NH DES to submit an application for this year to be put on the list to see if there is any funding to remove sludge. Paula has one of the engineers looking at the costs to see if there is a lower cost solution to remove sludge. They have to do a lot of research on disposing the sludge. Paula presented an application to the Commissioners to review before submitting it to NH DES. The “green worms” is still a viable option. In Process.

3.	National Pollutant Discharge Elimination System (NPDES) Permits.

- Small Wastewater Treatment Facility General Permit (WWTFGP) (Village District purview)– Background: was issued September 28, 2021 and became effective December 1, 2021. The Small WWTF General Permit is designed to authorize discharges of wastewater from publicly owned treatment works and other treatment works that treat domestic sewage. The permit establishes effluent limitations, monitoring requirements, reporting requirements and standard conditions for facilities that discharge to fresh and marine waters in MA and NH. We have a small wastewater treatment facility permit in place for the wastewater system. Update: No update. We are meeting the permit.

- Great Bay Total Nitrogen General Permit (GBTNGP) (Village District Purview) –  Background: The GBTNGP was issued for 13 eligible wastewater treatment facilities that discharge treated wastewater containing nitrogen within the Great Bay watershed in NH. It was issued on November 24, 2020 and became effective February 1, 2021. The permit establishes total nitrogen effluent limitations, monitoring requirements, reporting requirements and standard conditions for the 13 WWTFs. The discharge of all pollutants other than nitrogen from these WWTFs will continue to be authorized by each WWTS’s respective individual NPDES permit. Rather than address this permitting task on a permit-by-permit basis, EPA instead fashioned a general permit designed to comprehensively regulate nitrogen loading from 13 WWTFs in NH on a gross, watershed-wide scale, incorporating an innovative and adaptive approach to achieving water quality standards in the Great Bay estuary through a combination of mandatory load limits at the WWTFs and voluntary nonpoint source nitrogen reductions. Update: The permit is starting up this month (April). In Process.

- Stormwater Asset Management MS4 (Town’s Purview) – Background: Stormwater Asset Management ties into the NH Small MS4 General Permit; both under the town’s purview. Ray is the liaison as District Commissioner. Update: Ray said the HTA got the contract for the fir this. In Process.

5. Wastewater Projects

- Chemical Feed Upgrade – Update: $40,000 will be budgeted this year for the upgrade.

6.  Water Projects

- The District approved a $50,000 Warrant Article for Barrie Miller to drill test well at the 1 & 3 well site. There was so little water that they were unable to collect a water sample to bring to the lab. There is approximately $25,000 that was not spent out of that account. Because it was a Warrant Article voted on for a specific project, the money cannot be used for a different project.  Barrie sent invoice to HTA and it was estimated at $15,000, but came in at $10,000. We cannot use the extra money for anything else because it was a Warrant Article specifically for the project. Update: $26,000 was added to the budget. Paula will contact Barrie Miller to get him on the schedule to finish the work and dig a shallow well at site well #6.

- IPP Program – HTA monitors what Hutchinson Sealing and Coed Sportswear discharge into the sewer system.

D.  New Items

1. Josh said the effluent meter at the wastewater plant is going to fail. He received a quote of $14,000. He said that they are operating at a level just above where he wants to be. He said that we will wait until April. He has the meter and it is in storage. Update: Josh will line everyone up to get it replaced after April.

2. Josh said well #3 was producing 2.6 gallons of water per minute. Barrie Miller put in the new pump and transducer and now the well is producing 12-13 gallons of water per minute. Transducer measures the pressure and can determine how many feet of water is in the well. Josh said that the transducer seems to be working. He is going to change the contactor and overload on that well. It is still kicking out. Update: Josh reported that the pump is fixed.

3. The Commissioners were in receipt of Leigh Willett’s resignation at District Clerk. Update: Wendy will ask Betsy Coes if she would be interested in serving as Clerk. Wendy will be acting Clerk for the April Annual meeting.

4. Josh said we should think about budgeting to have the second pump replaced on Swamscott Street. Update: The pump for Swamscott replacement quote is $13,000 so the budgeted amount approved for $20,000 will cover it and installation. Josh received a quote for a pump replacement for Otis Road and that was $6,000. For next year’s budget.

5. Wet wells pumped out.   Update: Josh is using a company out of Stratham and has been placed in their schedule to have them pumped out.

6. Chemical Room Heater: Olofson heating came and unwired it. In Process.

The Meeting was adjourned at 8:20 PM. The next meeting is Monday, May 6, 2024 at 7:00 PM at the Newfields Water & Sewer District Office, 75 Main Street.

Respectfully submitted,

Wendy V. Chase

Treasurer

*PFAS - Per- and polyfluoroalkyl substances (PFAS) are chemicals that resist grease, oil, water, and heat. They were first used in the 1940's and are now in hundreds of products including stain- and water-resistant fabrics and carpeting, cleaning products, paints, and fire-fighting foams.

# Text boxes

Distribution:

Ray Buxton Jr.

Cathy Nelson-Smith

George Drinkwater

Paula Boyle

Josh Scotton

Wendy Chase